{"text_format":"2","workbook":"xlsx","n_sheets":22,"sheets":["油站信息","站内环境监测日报表","1号枪数据","2号枪数据","3号枪数据","4号枪数据","5号枪数据","6号枪数据","7号枪数据","8号枪数据","9号枪数据","10号枪数据","11号枪数据","12号枪数据","17号枪数据","18号枪数据","19号枪数据","20号枪数据","Settings_unsichtbar","Language","A面数据_unsichtbar","B面数据_unsichtbar"],"not_rendered":{"charts":0,"images":3,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"油站信息","index":0,"n_rows":11,"n_cols":2,"rows_kept":11,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油站信息"]
[]
["加油站名称:","北京站加油站"]
["加油站编号:","009"]
["加油站地址:","北京站西街"]
["主管单位名称:","北京中石化"]
["启用日期:","2014-11-7"]
["加油机品牌:","托肯衡山"]
["加油机型号:","THD2244B2"]
["加油枪品牌:","ZVA"]
["真空泵品牌:","杜尔泵"]

{"sheet":"站内环境监测日报表","index":1,"n_rows":20,"n_cols":11,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
[]
[]
["日期","记录天数","罐压预警","罐压报警","密闭预警","密闭报警","液阻预警","液阻报警","站内油气浓度预警","站内油气浓度报警","温度报警"]
[]
["2014-11-20",14,"-","-","-","-","-","-","-","-","-"]
["2014-11-19",13,"-","-","-","-","-","-","-","-","-"]
["2014-11-18",12,"-","-","-","-","-","-","-","-","-"]
["2014-11-17",11,"-","-","-","-","-","-","-","-","-"]
["2014-11-16",10,"-","-","-","-","-","-","-","-","-"]
["2014-11-15",9,"-","-","-","-","-","-","-","-","-"]
["2014-11-14",8,"-","-","-","-","-","-","-","-","-"]
["2014-11-13",7,"-","-","-","-","-","-","-","-","-"]
["2014-11-12",6,"-","-","-","-","-","-","-","-","-"]
["2014-11-11",5,"-","-","-","-","-","-","-","-","-"]
["2014-11-10",4,"-","-","-","-","-","-","-","-","-"]
["2014-11-9",3,"-","-","-","-","-","-","-","-","-"]
["2014-11-8",2,"-","-","-","-","-","-","-","-","-"]
["2014-11-7",1,"-","-","-","-","-","-","-","-","-"]

{"sheet":"1号枪数据","index":2,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",1,"加油机编号","1"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["42073;B","2014-11-20",14,0,0,0,"N","N"]
["42073;B","2014-11-19",13,0,0,0,"N","N"]
["42073;B","2014-11-18",12,0,0,0,"N","N"]
["42073;B","2014-11-17",11,0,0,0,"N","N"]
["42073;B","2014-11-16",10,0,0,0,"N","N"]
["42073;B","2014-11-15",9,0,0,0,"N","N"]
["42073;B","2014-11-14",8,0,0,0,"N","N"]
["42073;B","2014-11-13",7,0,0,0,"N","N"]
["42073;B","2014-11-12",6,0,0,0,"N","N"]
["42073;B","2014-11-11",5,0,0,0,"N","N"]
["42073;B","2014-11-10",4,0,0,0,"N","N"]
["42073;B","2014-11-9",3,0,0,0,"N","N"]
["42073;B","2014-11-8",2,0,0,0,"N","N"]
["42073;B","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"2号枪数据","index":3,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",2,"加油机编号","1"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["42073;A","2014-11-20",14,0,0,0,"N","N"]
["42073;A","2014-11-19",13,0,0,0,"N","N"]
["42073;A","2014-11-18",12,0,0,0,"N","N"]
["42073;A","2014-11-17",11,0,0,0,"N","N"]
["42073;A","2014-11-16",10,0,0,0,"N","N"]
["42073;A","2014-11-15",9,0,0,0,"N","N"]
["42073;A","2014-11-14",8,0,0,0,"N","N"]
["42073;A","2014-11-13",7,0,0,0,"N","N"]
["42073;A","2014-11-12",6,0,0,0,"N","N"]
["42073;A","2014-11-11",5,0,0,0,"N","N"]
["42073;A","2014-11-10",4,0,0,0,"N","N"]
["42073;A","2014-11-9",3,0,0,0,"N","N"]
["42073;A","2014-11-8",2,0,0,0,"N","N"]
["42073;A","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"3号枪数据","index":4,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",3,"加油机编号","1"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["29076;B","2014-11-20",14,0,0,0,"N","N"]
["29076;B","2014-11-19",13,0,0,0,"N","N"]
["29076;B","2014-11-18",12,0,0,0,"N","N"]
["29076;B","2014-11-17",11,0,0,0,"N","N"]
["29076;B","2014-11-16",10,0,0,0,"N","N"]
["29076;B","2014-11-15",9,0,0,0,"N","N"]
["29076;B","2014-11-14",8,0,0,0,"N","N"]
["29076;B","2014-11-13",7,0,0,0,"N","N"]
["29076;B","2014-11-12",6,0,0,0,"N","N"]
["29076;B","2014-11-11",5,0,0,0,"N","N"]
["29076;B","2014-11-10",4,0,0,0,"N","N"]
["29076;B","2014-11-9",3,0,0,0,"N","N"]
["29076;B","2014-11-8",2,0,0,0,"N","N"]
["29076;B","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"4号枪数据","index":5,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",4,"加油机编号","1"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["29076;A","2014-11-20",14,0,0,0,"N","N"]
["29076;A","2014-11-19",13,0,0,0,"N","N"]
["29076;A","2014-11-18",12,0,0,0,"N","N"]
["29076;A","2014-11-17",11,0,0,0,"N","N"]
["29076;A","2014-11-16",10,0,0,0,"N","N"]
["29076;A","2014-11-15",9,0,0,0,"N","N"]
["29076;A","2014-11-14",8,0,0,0,"N","N"]
["29076;A","2014-11-13",7,0,0,0,"N","N"]
["29076;A","2014-11-12",6,0,0,0,"N","N"]
["29076;A","2014-11-11",5,0,0,0,"N","N"]
["29076;A","2014-11-10",4,0,0,0,"N","N"]
["29076;A","2014-11-9",3,0,0,0,"N","N"]
["29076;A","2014-11-8",2,0,0,0,"N","N"]
["29076;A","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"5号枪数据","index":6,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",5,"加油机编号","2"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["42074;B","2014-11-20",14,0,0,0,"N","N"]
["42074;B","2014-11-19",13,0,0,0,"N","N"]
["42074;B","2014-11-18",12,0,0,0,"N","N"]
["42074;B","2014-11-17",11,0,0,0,"N","N"]
["42074;B","2014-11-16",10,0,0,0,"N","N"]
["42074;B","2014-11-15",9,0,0,0,"N","N"]
["42074;B","2014-11-14",8,0,0,0,"N","N"]
["42074;B","2014-11-13",7,0,0,0,"N","N"]
["42074;B","2014-11-12",6,0,0,0,"N","N"]
["42074;B","2014-11-11",5,0,0,0,"N","N"]
["42074;B","2014-11-10",4,0,0,0,"N","N"]
["42074;B","2014-11-9",3,0,0,0,"N","N"]
["42074;B","2014-11-8",2,0,0,0,"N","N"]
["42074;B","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"6号枪数据","index":7,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",6,"加油机编号","2"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["42074;A","2014-11-20",14,0,0,0,"N","N"]
["42074;A","2014-11-19",13,0,0,0,"N","N"]
["42074;A","2014-11-18",12,0,0,0,"N","N"]
["42074;A","2014-11-17",11,0,0,0,"N","N"]
["42074;A","2014-11-16",10,0,0,0,"N","N"]
["42074;A","2014-11-15",9,0,0,0,"N","N"]
["42074;A","2014-11-14",8,0,0,0,"N","N"]
["42074;A","2014-11-13",7,0,0,0,"N","N"]
["42074;A","2014-11-12",6,0,0,0,"N","N"]
["42074;A","2014-11-11",5,0,0,0,"N","N"]
["42074;A","2014-11-10",4,0,0,0,"N","N"]
["42074;A","2014-11-9",3,0,0,0,"N","N"]
["42074;A","2014-11-8",2,0,0,0,"N","N"]
["42074;A","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"7号枪数据","index":8,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",7,"加油机编号","2"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["42066;B","2014-11-20",14,0,0,0,"N","N"]
["42066;B","2014-11-19",13,0,0,0,"N","N"]
["42066;B","2014-11-18",12,0,0,0,"N","N"]
["42066;B","2014-11-17",11,0,0,0,"N","N"]
["42066;B","2014-11-16",10,0,0,0,"N","N"]
["42066;B","2014-11-15",9,0,0,0,"N","N"]
["42066;B","2014-11-14",8,0,0,0,"N","N"]
["42066;B","2014-11-13",7,0,0,0,"N","N"]
["42066;B","2014-11-12",6,0,0,0,"N","N"]
["42066;B","2014-11-11",5,0,0,0,"N","N"]
["42066;B","2014-11-10",4,0,0,0,"N","N"]
["42066;B","2014-11-9",3,0,0,0,"N","N"]
["42066;B","2014-11-8",2,0,0,0,"N","N"]
["42066;B","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"8号枪数据","index":9,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",8,"加油机编号","2"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["42066;A","2014-11-20",14,0,0,0,"N","N"]
["42066;A","2014-11-19",13,0,0,0,"N","N"]
["42066;A","2014-11-18",12,0,0,0,"N","N"]
["42066;A","2014-11-17",11,0,0,0,"N","N"]
["42066;A","2014-11-16",10,0,0,0,"N","N"]
["42066;A","2014-11-15",9,0,0,0,"N","N"]
["42066;A","2014-11-14",8,0,0,0,"N","N"]
["42066;A","2014-11-13",7,0,0,0,"N","N"]
["42066;A","2014-11-12",6,0,0,0,"N","N"]
["42066;A","2014-11-11",5,0,0,0,"N","N"]
["42066;A","2014-11-10",4,0,0,0,"N","N"]
["42066;A","2014-11-9",3,0,0,0,"N","N"]
["42066;A","2014-11-8",2,0,0,0,"N","N"]
["42066;A","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"9号枪数据","index":10,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",9,"加油机编号","3"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["42067;B","2014-11-20",14,0,0,0,"N","N"]
["42067;B","2014-11-19",13,0,0,0,"N","N"]
["42067;B","2014-11-18",12,0,0,0,"N","N"]
["42067;B","2014-11-17",11,0,0,0,"N","N"]
["42067;B","2014-11-16",10,0,0,0,"N","N"]
["42067;B","2014-11-15",9,0,0,0,"N","N"]
["42067;B","2014-11-14",8,0,0,0,"N","N"]
["42067;B","2014-11-13",7,0,0,0,"N","N"]
["42067;B","2014-11-12",6,0,0,0,"N","N"]
["42067;B","2014-11-11",5,0,0,0,"N","N"]
["42067;B","2014-11-10",4,0,0,0,"N","N"]
["42067;B","2014-11-9",3,0,0,0,"N","N"]
["42067;B","2014-11-8",2,0,0,0,"N","N"]
["42067;B","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"10号枪数据","index":11,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",10,"加油机编号","3"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["42067;A","2014-11-20",14,0,0,0,"N","N"]
["42067;A","2014-11-19",13,0,0,0,"N","N"]
["42067;A","2014-11-18",12,0,0,0,"N","N"]
["42067;A","2014-11-17",11,0,0,0,"N","N"]
["42067;A","2014-11-16",10,0,0,0,"N","N"]
["42067;A","2014-11-15",9,0,0,0,"N","N"]
["42067;A","2014-11-14",8,0,0,0,"N","N"]
["42067;A","2014-11-13",7,0,0,0,"N","N"]
["42067;A","2014-11-12",6,0,0,0,"N","N"]
["42067;A","2014-11-11",5,0,0,0,"N","N"]
["42067;A","2014-11-10",4,0,0,0,"N","N"]
["42067;A","2014-11-9",3,0,0,0,"N","N"]
["42067;A","2014-11-8",2,0,0,0,"N","N"]
["42067;A","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"11号枪数据","index":12,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",11,"加油机编号","3"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["39772;B","2014-11-20",14,0,0,0,"N","N"]
["39772;B","2014-11-19",13,0,0,0,"N","N"]
["39772;B","2014-11-18",12,0,0,0,"N","N"]
["39772;B","2014-11-17",11,0,0,0,"N","N"]
["39772;B","2014-11-16",10,0,0,0,"N","N"]
["39772;B","2014-11-15",9,0,0,0,"N","N"]
["39772;B","2014-11-14",8,0,0,0,"N","N"]
["39772;B","2014-11-13",7,0,0,0,"N","N"]
["39772;B","2014-11-12",6,0,0,0,"N","N"]
["39772;B","2014-11-11",5,0,0,0,"N","N"]
["39772;B","2014-11-10",4,0,0,0,"N","N"]
["39772;B","2014-11-9",3,0,0,0,"N","N"]
["39772;B","2014-11-8",2,0,0,0,"N","N"]
["39772;B","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"12号枪数据","index":13,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",12,"加油机编号","3"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["39772;A","2014-11-20",14,0,0,0,"N","N"]
["39772;A","2014-11-19",13,0,0,0,"N","N"]
["39772;A","2014-11-18",12,0,0,0,"N","N"]
["39772;A","2014-11-17",11,0,0,0,"N","N"]
["39772;A","2014-11-16",10,0,0,0,"N","N"]
["39772;A","2014-11-15",9,0,0,0,"N","N"]
["39772;A","2014-11-14",8,0,0,0,"N","N"]
["39772;A","2014-11-13",7,0,0,0,"N","N"]
["39772;A","2014-11-12",6,0,0,0,"N","N"]
["39772;A","2014-11-11",5,0,0,0,"N","N"]
["39772;A","2014-11-10",4,0,0,0,"N","N"]
["39772;A","2014-11-9",3,0,0,0,"N","N"]
["39772;A","2014-11-8",2,0,0,0,"N","N"]
["39772;A","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"17号枪数据","index":14,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",17,"加油机编号","5"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["42078;B","2014-11-20",14,0,0,0,"N","N"]
["42078;B","2014-11-19",13,0,0,0,"N","N"]
["42078;B","2014-11-18",12,0,0,0,"N","N"]
["42078;B","2014-11-17",11,0,0,0,"N","N"]
["42078;B","2014-11-16",10,0,0,0,"N","N"]
["42078;B","2014-11-15",9,0,0,0,"N","N"]
["42078;B","2014-11-14",8,0,0,0,"N","N"]
["42078;B","2014-11-13",7,0,0,0,"N","N"]
["42078;B","2014-11-12",6,0,0,0,"N","N"]
["42078;B","2014-11-11",5,0,0,0,"N","N"]
["42078;B","2014-11-10",4,0,0,0,"N","N"]
["42078;B","2014-11-9",3,0,0,0,"N","N"]
["42078;B","2014-11-8",2,0,0,0,"N","N"]
["42078;B","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"18号枪数据","index":15,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",18,"加油机编号","5"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["42078;A","2014-11-20",14,0,0,0,"N","N"]
["42078;A","2014-11-19",13,0,0,0,"N","N"]
["42078;A","2014-11-18",12,0,0,0,"N","N"]
["42078;A","2014-11-17",11,0,0,0,"N","N"]
["42078;A","2014-11-16",10,0,0,0,"N","N"]
["42078;A","2014-11-15",9,0,0,0,"N","N"]
["42078;A","2014-11-14",8,0,0,0,"N","N"]
["42078;A","2014-11-13",7,0,0,0,"N","N"]
["42078;A","2014-11-12",6,0,0,0,"N","N"]
["42078;A","2014-11-11",5,0,0,0,"N","N"]
["42078;A","2014-11-10",4,0,0,0,"N","N"]
["42078;A","2014-11-9",3,0,0,0,"N","N"]
["42078;A","2014-11-8",2,0,0,0,"N","N"]
["42078;A","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"19号枪数据","index":16,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",19,"加油机编号","5"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["42071;B","2014-11-20",14,0,0,0,"N","N"]
["42071;B","2014-11-19",13,0,0,0,"N","N"]
["42071;B","2014-11-18",12,0,0,0,"N","N"]
["42071;B","2014-11-17",11,0,0,0,"N","N"]
["42071;B","2014-11-16",10,0,0,0,"N","N"]
["42071;B","2014-11-15",9,0,0,0,"N","N"]
["42071;B","2014-11-14",8,0,0,0,"N","N"]
["42071;B","2014-11-13",7,0,0,0,"N","N"]
["42071;B","2014-11-12",6,0,0,0,"N","N"]
["42071;B","2014-11-11",5,0,0,0,"N","N"]
["42071;B","2014-11-10",4,0,0,0,"N","N"]
["42071;B","2014-11-9",3,0,0,0,"N","N"]
["42071;B","2014-11-8",2,0,0,0,"N","N"]
["42071;B","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"20号枪数据","index":17,"n_rows":20,"n_cols":8,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,16383]]}
["油气回收在线监测数据 日报表"]
[]
["加油枪编号",20,"加油机编号","5"]
[]
["传感器号","日期","记录天数","有效加油次数","A/L超标次数","A/L超标率（%）","A/L预警","A/L报警"]
[]
["42071;A","2014-11-20",14,0,0,0,"N","N"]
["42071;A","2014-11-19",13,0,0,0,"N","N"]
["42071;A","2014-11-18",12,0,0,0,"N","N"]
["42071;A","2014-11-17",11,0,0,0,"N","N"]
["42071;A","2014-11-16",10,0,0,0,"N","N"]
["42071;A","2014-11-15",9,0,0,0,"N","N"]
["42071;A","2014-11-14",8,0,0,0,"N","N"]
["42071;A","2014-11-13",7,0,0,0,"N","N"]
["42071;A","2014-11-12",6,0,0,0,"N","N"]
["42071;A","2014-11-11",5,0,0,0,"N","N"]
["42071;A","2014-11-10",4,0,0,0,"N","N"]
["42071;A","2014-11-9",3,0,0,0,"N","N"]
["42071;A","2014-11-8",2,0,0,0,"N","N"]
["42071;A","2014-11-7",1,0,0,0,"N","N"]

{"sheet":"Settings_unsichtbar","index":18,"n_rows":1,"n_cols":2,"rows_kept":1,"cut":false,"hidden":true,"merged":[]}
["Sprache",6]

{"sheet":"Language","index":19,"n_rows":104,"n_cols":6,"rows_kept":104,"cut":false,"hidden":true,"merged":[]}
["nativ","en, default","dt","fr","it","cn"]
["PleaseSelectLanguage","Please select the program language:","Wählen Sie bitte eine Programmsprache aus:","Veuillez sélectionner une langue de communication avec le programme :",null,"请选择所需的语言种类"]
["Makro","Macro","Makro","Macro","Macro","Makro"]
["Historie VAPORIX-Control","History VAPORIX-Control","Historie VAPORIX-Control","Historique VAPORIX-Control","Cronologia VAPORIX-Control","VAPORIX 控制器历史"]
["Die folgenden Daten werden in ein Datenblatt uebernommen:","The following data will be accepted in a data sheet:","Die folgenden Daten werden in ein Datenblatt übernommen:","Les données suivantes seront consignées à la fiche de données :","I dati seguenti vengono applicati in una scheda dati:","下列数据是从一个文件里获取的"]
["Tankstelle","Filling station","Tankstelle","Station-service","Distributore","加油站名称"]
["Ort","Place","Ort","Lieu","Luogo","城市名"]
["Straße","Street","Straße","Rue","Via","街道名"]
["Objekt-Nr.","Property no.","Objekt-Nr.","N° de l’objet","Oggetto no.","加油站编号"]
["Datum","Date","Datum","Date","Data","日期"]
["ZP-Nr. Seite A","Dispenser No. Side A","Zapfpunkt-Nr. Seite A","N° du distributeur voie A","Pompa no. parte A","A面加油枪编号"]
["ZP-Nr. Seite B","Dispenser No. Side B","Zapfpunkt-Nr. Seite B","N° du distributeur voie B","Pompa no. parte B","A面加油枪编号"]
["Zapfsaeule","Dispenser","Zapfsäule","Distributeur","Pompa","加油机编号"]
["Hersteller","Manufacturer","Hersteller","Fabricant","Costruttore","加油机生产厂名"]
["Typ","Type","Typ","Modèle","Tipo","机型"]
["GR-System / Zertifikat-Nr.","Vapour recovery system / certificate no.","Gasrückführungssystem / Zertifikat-Nr.","Système d’asservissement du gaz / certificat n°","Sistema GR / certificato no.","油气回收系统/认证编号"]
["Kommunikationsprogramm starten und Diagramme generieren","Start communication program and generate diagrams","Kommunikationsprogramm starten und Diagramme generieren","Démarrer le programme de communication et générer les diagrammes","Avviare il programma di comunicazione e creare i diagrammi","启动通讯软件和绘制图表"]
["Datei öffnen und Diagramme generieren","Open file and generate diagrams","Datei öffnen und Diagramme generieren","Ouvrir le fichier et générer les diagrammes","Aprire il file e creare i diagrammi","打开文件和绘制图表"]
["Oeffnen","Open","Öffnen","Ouvrir","Apri","打开"]
["Schliessen","Close","Schließen","Fermer","Chiudi","关闭"]
["Beenden","Exit","Beenden","Quitter","Esci","结束"]
["Alle Dateien","All files","Alle Dateien","Tous les fichiers","Tutti i file","所有文件"]
["Microsoft Access-Datenbanken","Microsoft Access databases","Microsoft Access-Datenbanken","Banques de données Microsoft Access","Banche dati Microsoft Access","微软 ACCESS 数据库"]
["Arbeitsgruppen-Dateien","Working group files","Arbeitsgruppen-Dateien","Fichiers des groupes de travail","File gruppi di lavoro","工作小组—文件"]
["Add-Ins","Add-ins","Add-Ins","Add-ins","Add-Ins","Add-Ins"]
["MDE-Dateien","MDE files","MDE-Dateien","Fichiers MDE","File MDE","MDE—文件"]
["Wartet auf Programmende...","Waiting for end of program...","Wartet auf Programmende...","Attente de la fin du programme…","Attendere il termine del programma...","等待软件结束"]
["Verarbeite Datei (Seite A)...","Process file (Side A)...","Verarbeite Datei (Seite A)...","Traitement du fichier (voie A)...","Elabora file (parte A)...","处理文件(A面)"]
["Daten Seite A","Data Side A","Daten Seite A","Données voie A","File parte A","A面数据"]
["Erstelle Diagramm (Seite A)...","Create diagram (Side A)...","Erstelle Diagramm (Seite A)...","Elaboration du diagramme (voie A)...","Crea diagramma (parte A)...","绘制图表(A面)"]
["Tankvorgaenge Seite A","Filling operations Side A","Tankvorgänge Seite A","Op. de remplissage voie A","Diagramma parte A","A面加油过程"]
["Tankvorgaenge Seite A","Filling operations Side A","Tankvorgänge Seite A","Opérations de remplissage voie A","Cicli di distribuzione parte A","A面加油过程"]
["Verarbeite Datei (Seite B)...","Process file (Side B)...","Verarbeite Datei (Seite B)...","Traitement du fichier (voie B)...","Elabora file (parte B)...","处理文件(B面)"]
["Daten Seite B","Data Side B","Daten Seite B","Données voie B","File parte B","B面数据"]
["Erstelle Diagramm (Seite B)...","Create diagram (Side B)...","Erstelle Diagramm (Seite B)...","Elaboration du diagramme (voie B)...","Crea diagramma (parte B)...","绘制图表(B面)"]
["Tankvorgaenge Seite B","Filling operations Side B","Tankvorgänge Seite B","Op. de remplissage voie B","Diagramma parte B","B面加油过程"]
["Tankvorgaenge Seite B","Filling operations Side B","Tankvorgänge Seite B","Opérations de remplissage voie B","Cicli di distribuzione parte B","B面加油过程"]
["Standort Daten","Site data","Standort Daten","Données du site","Posizione dati","所在地域文件"]
["VAPORIX-Historiendatei waehlen...","Select VAPORIX history data","VAPORIX-Historiendatei wählen...","Sélectionner le fichier historique VAPORIX...","Selezionare il file di cronologia VAPORIX...","选择VAPORIX历史数据"]
["Datei","File","Datei","Fichier","File","文件"]
["Keine Daten vorhanden.","No data available.","Keine Daten vorhanden.","Pas de donnée disponibles.","Non sono stati trovati alcuni dati.","没有文件存在"]
["Vorgang beendet","Operation terminated","Vorgang beendet","Quitter l’opération","Procedimento terminato","终结次过程"]
["Status","Status","Status","Etat","Stato","状态"]
["Rueckfuehrrate in % (Table)","Recovery rate in %","Rückführrate in %","Taux d’asservissement en %","Quota di rimessa in %"]
["Rueckfuehrrate in %","Recovery rate in %","Rückführrate in %","Taux d’asservissement en %","Quota di rimessa in %","油气回收率(%)"]
["Mittelwert d.","Mean value of","Mittelwert d.","Valeur moyenne du taux","Valore medio della","平均油气回收率(%)"]
["Rueckfuehrrate in %","recovery rate in %","Rückführrate in %","d’asservissement en %","quota di rimessa in %"]
["Mittelwert d. Rueckfuehrrate in %","Mean value of recovery rate in %","Mittelwert d. Rückführrate in %","Valeur moyenne du taux d’asservissement en %","Valore medio della quota di rimessa in %","平均油气回收率(%)"]
["Mittelwert d. Rueckfuehrrate in % (Mittelwert der Rueckfuehrrate in %)","Mean value of recovery rate in % (mean value of the recovery rate in %)","Mittelwert d. Rückführrate in % (Mittelwert der Rückführrate in %)","Valeur moyenne du taux d’asservissement en % (Valeur moyenne du taux d’asservissement exprimée en %)","Valore medio della quota di rimessa in % (valore medio per la quota di rimessa in %)","平均油气回收率(%)"]
["Mittlere Gastemp. in °C","Mean vapour temp. in °C","Mittlere Gastemp. in °C","Température moyenne du gaz en °C","Temp. gas media in °C","平均油气温度 °C"]
["Mittlere Gastemp. in °C (Mittlere Gastemperatur. in °C)","Mean vapour temp. in °C (mean vapour temperature in °C)","Mittlere Gastemp. in °C (Mittlere Gastemperatur. in °C)","Température moyenne du gaz en °C (température moyenne du gaz exprimée en °C)","Temp. gas media in °C (temperatura gas media in °C)","平均油气温度 °C"]
["Gaskonz. in %","Vapour concentr. in %","Gaskonz. in %","Concentration de gaz en %","Conc. gas in %","油气浓度(%)"]
["Gaskonz. in % (Gaskonzentration. in %)","Vapour concentr. in % (vapour concentration in %)","Gaskonz. in % (Gaskonzentration. in %)","Concentration de gaz en % (concentration de gaz exprimée en %)","Conc. gas in % (concentrazione gas in %)","油气浓度(%)"]
["Kraftstofffluss in l/min","Fuel flow rate in l/min","Kraftstofffluß in l/min","Flux de carburant en l/min","Flusso carburante in l/min","燃油流量 升/分钟"]
["Betankungszaehler","Fuel transfer counter","Betankungszähler","Compteur des remplissages","Contatore di rifornimento","加油计数"]
["Bemerkung:","Comment:","Bemerkung:","Observation :","Nota:","备注"]
["Standard","Standard","Standard","Réglage d’usine","Standard","标准"]
["Uhrzeit","Time","Uhrzeit","Heure","Ora","时间"]
["Datum","Date","Datum","Date","Data","日期"]
["Fehlerzaehler","Error counter","Fehlerzähler","Compteur des défauts","Contatore errori","故障计数"]
["Sensornr.","Sensor no.","Sensornr.","N° du capteur","Sensore no.","传感器编号"]
["Sensornummer","Sensor number","Sensornummer","Numéro du capteur","Sensore numero","传感器编号"]
["GK-Status","Vapour concentration status","GK-Status","Etat de la concentration de gaz","Stato GK","油气浓度—状态"]
["Gasfluss in l/min","Vapour flow rate in l/min","Gasfluß in l/min","Flux de gaz en l/min","Flusso gas in l/min","油气流量 升/分钟 "]
["Version","Version","Version","Version","Versione","版本"]
["Seite","Side","Seite","Voie","Parte","侧面"]
["in %","in %","in %","en %","in %"]
["in l/min","in l/min","in l/min","en l/min","in l/min"]
["Rueckfuehrrate","Recovery rate","Rückführrate","Taux d’asservissement","Quota di rimessa","油气回收率(%)"]
["Mittlere","Mean vapour","Mittlere","Température moyenne","Temp. Gas","平均油气温度 °C"]
["Gastemp. in °C","temp. in °C","Gastemp. in °C","du gaz en °C","media in °C"]
["Mittlere Gastemp.","Mean vapour temp.","Mittlere Gastemp.","Température moyenne du gaz","Temp. gas media","油气平均温度"]
["Mittelwert d. Rueckfuehrrate","Mean value of recovery rate","Mittelwert d. Rückführrate","Valeur moyenne du taux d’asservissement","Valore medio della quota di rimessa","平均油气回收率"]
["Gasfluss","Vapour flow rate","Gasfluß","Flux de gaz","Flusso gas","油气流量 升/分钟 "]
["Kraftstofffluss","Fuel flow rate","Kraftstofffluß","Flux de carburant","Flusso carburante","燃油流量 升/分钟"]
["in °C","in °C","in °C","en °C","in °C","温度℃"]
["Starten","Start","Starten","Démarrer","Avvio","开始"]
["Verarbeite Datei...","Process file…","Verarbeite Datei...","Traitement du fichier…","Elabora file…","处理文件"]
["Konnte Kommunikationsprogramm nicht starten!","Could not start communication program!","Konnte Kommunikationsprogramm nicht starten!","Démarrage du programme de communication impossible !","Il programma di comunicazione non è stato avviato!"]
["Aktualisieren Sie die Registrierungsdatenbank.","Update the registry.","Aktualisieren Sie die Registrierungsdatenbank.","Veuillez actualiser la banque de données des enregistrements.","Aggiornare la banca dati di registrazione."]
["Abbrechen","Cancel","Abbrechen","Annuler","Annulla","取消"]
["SeiteA","SideA","SeiteA","voieA","parteA","A面"]
["SeiteB","SideB","SeiteB","voieB","parteB","B面"]
["Seite A","Side A","Seite A","voie A","parte A","A面"]
["Seite B","Side B","Seite B","voie B","parte B","B面"]
["Sonstiges","Others","Sonstiges","autres","altro","其它"]
["Weitere Control Einstellungen","Other Control Settings","Weitere Control Einstellungen","autre réglages Control","Altre Tarature di Controllo","进一步选择监控参数"]
["Erzeuge Kraftstofffluss Diagramm","generate fuel flow diagram","Erzeuge Kraftstofffluß Diagramm","créer un diagramme de carburant","Diagramma del flusso del carburante","绘制燃油流量图"]
["Erzeuge Temperaturverlauf","generate temperature pattern","Erzeuge Temperaturverlauf","créer un diagramme de température","Traccia della temperatura","绘制温度曲线"]
["Konnte Kraftstofffluss Diagramm nicht erstellen","Unable to generate fuel flow diagram","Konnte Kraftstofffluß Diagramm nicht erstellen","Pas possible de mettre en marche 'diagramme passage de carburant''","Impossibilitato a generare il diagramma di flusso del carburante","无法绘制燃料流量图"]
["Konnte Temperaturverlauf nicht erstellen","Unable to generate temperature pattern","Konnte Temperaturverlauf nicht erstellen","Pas possible de mettre en marche 'allure de température'","Impossibilitato a generare la traccia della temperatura","无法绘制温度曲线"]
["Temperatur","temperature","Temperatur","Température","temperatura","温度"]
["Pruefe Softwareversion...","Check software version ","Prüfe Softwareversion...","Vérifie version logiciel","Controllare la versione del software","检查软件版本"]
["Die Softwareversion des Control muss 1.36 oder neuer sein.","The software version of the control device must be at least 1.36 or newer ","Die Softwareversion des Control muss 1.36 oder neuer sein.","Version logiciel de Control doit être 1.36 ou plus récent","La versione del software dell'apparecchiatura di controllo deve esseri almeno la 1.36 o seguente","监控软件的版本必须是1.36或更高版本"]
["Konnte Softwareversion nicht pruefen!","Unable to check software version!","Konnte Softwareversion nicht prüfen!","Pas possible de vérifier version logiciel","Incapace di controllare la versione del software","无法确认软件版本"]
["VAPORIX-Control anwortet nicht. Vielleicht hat VAPORIX-Control einen anderen COM-Port.","VAPORIX-Control does not respond. Perhaps VAPORIX-Control has a different COM port.","VAPORIX-Control anwortet nicht. Vielleicht hat VAPORIX-Control einen anderen COM-Port.","VAPORIX-Control ne répond pas. Il se pourrait que VAPORIX-Control impose un autre port COM.","VAPORIX-Control non risponde. Molto probabilmente VAPORIX-Control possiede un'altra porta COM.","VAPORIX监控系统不响应，也许它有另外一个COM接口"]
["Port Auswahl","Port selection","Port Auswahl","Sélection du port","Selezione porta","接口选择"]
["KraftstoffflussDiagrammName","Fuel flow rate","Kraftstofffluß","Flux carburant","carburant","汽油流量图"]
["Bitte aktualisieren Sie die Control-Software.","Please update the VAPORIX Control software","Bitte aktualisieren Sie die Control-Software.","Veuillez actualiser logiciel de Control (update Control)",null,"请刷新您的监控软件"]
["Konnte Control-Einstellungsprogramm nicht starten","Unable to start control setting program","Konnte Control-Einstellungsprogramm nicht starten","Pas possible de mettre en marche 'programme réglage Control'","Impossibilitato ad avviare il programma della taratura di controllo","无法启动控制调制软件"]
["OK","OK","OK","OK","OK","确认"]
["FileSeiteA","SideA","SeiteA","voieA","parteA","SideA"]
["FileSeiteB","SideB","SeiteB","voieB","parteB","SideB"]
["FileSonstiges","Others","Sonstiges","autres","altro","Others"]

{"sheet":"A面数据_unsichtbar","index":20,"n_rows":953,"n_cols":8,"rows_kept":953,"cut":false,"hidden":true,"merged":[]}
[]
["SVN.C: 1.37",1,"Kraftstofffluss",0,"temp durchgeführt",0,"PCMInstalled",0]
[]
["mit A=Nr.",null,"mit A=Nr:"]
["FehlZähler < 11","FehlZähler > 10","FehlZähler < 11","FehlZähler > 10"]
["Rückführrate","Rückführrate","Rückführrate","Rückführrate","Min ","Max"]
[78,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[79,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[null,null,85,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,88,null,85,115,100]
[null,null,85,null,85,115,100]
[78,null,null,null,85,115,100]
[80,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[78,null,null,null,85,115,100]
[79,null,null,null,85,115,100]
[76,null,null,null,85,115,100]
[78,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[94,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[78,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[76,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[108,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[88,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,88,null,85,115,100]
[88,null,null,null,85,115,100]
[75,null,null,null,85,115,100]
[105,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[105,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[86,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[79,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[null,null,85,null,85,115,100]
[null,null,85,null,85,115,100]
[null,null,85,null,85,115,100]
[108,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[80,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[178,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[109,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[87,null,null,null,85,115,100]
[null,null,105,null,85,115,100]
[94,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[80,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[99,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[74,null,null,null,85,115,100]
[76,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[76,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[91,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[87,null,null,null,85,115,100]
[79,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,86,null,85,115,100]
[87,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[80,null,null,null,85,115,100]
[114,null,null,null,85,115,100]
[115,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[80,null,null,null,85,115,100]
[80,null,null,null,85,115,100]
[79,null,null,null,85,115,100]
[107,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[79,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[91,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[90,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[79,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[85,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[77,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[106,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[80,null,null,null,85,115,100]
[78,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[90,null,null,null,85,115,100]
[79,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[107,null,null,null,85,115,100]
[100,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[91,null,null,null,85,115,100]
[103,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[92,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[null,null,86,null,85,115,100]
[81,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[85,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[78,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[80,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[85,null,null,null,85,115,100]
[103,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[90,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[91,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[106,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,85,null,85,115,100]
[null,null,86,null,85,115,100]
[87,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[90,null,null,null,85,115,100]
[80,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[89,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[78,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[85,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[85,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[null,null,92,null,85,115,100]
[null,null,88,null,85,115,100]
[null,null,95,null,85,115,100]
[112,null,null,null,85,115,100]
[109,null,null,null,85,115,100]
[162,null,null,null,85,115,100]
[null,null,98,null,85,115,100]
[112,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[98,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,88,null,85,115,100]
[null,null,106,null,85,115,100]
[95,null,null,null,85,115,100]
[null,null,97,null,85,115,100]
[96,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[79,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[94,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[104,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[87,null,null,null,85,115,100]
[80,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[76,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[88,null,null,null,85,115,100]
[108,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[103,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[95,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[null,null,88,null,85,115,100]
[88,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[85,null,null,null,85,115,100]
[106,null,null,null,85,115,100]
[106,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[103,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[109,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[86,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[112,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[104,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[110,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[108,null,null,null,85,115,100]
[104,null,null,null,85,115,100]
[108,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[104,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[90,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[111,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[100,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[96,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[null,null,85,null,85,115,100]
[9,null,null,null,85,115,100]
[1,null,null,null,85,115,100]
[1,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[88,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[80,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[87,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[105,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[88,null,null,null,85,115,100]
[80,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[93,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[79,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[88,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[96,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[null,null,89,null,85,115,100]
[88,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[106,null,null,null,85,115,100]
[100,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[91,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[null,null,86,null,85,115,100]
[87,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[null,null,87,null,85,115,100]
[96,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[85,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[null,null,88,null,85,115,100]
[97,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[109,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[133,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[109,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[104,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[112,null,null,null,85,115,100]
[108,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,87,null,85,115,100]
[104,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,85,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,85,null,85,115,100]
[81,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[null,null,87,null,85,115,100]
[85,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[107,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[108,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[null,null,87,null,85,115,100]
[85,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[85,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,86,null,85,115,100]
[null,null,86,null,85,115,100]
[null,null,88,null,85,115,100]
[79,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[103,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[91,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[null,null,86,null,85,115,100]
[null,null,88,null,85,115,100]
[92,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[100,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[85,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[86,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,88,null,85,115,100]
[104,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[99,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[92,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[106,null,null,null,85,115,100]
[114,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[110,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[102,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[81,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[null,null,88,null,85,115,100]
[104,null,null,null,85,115,100]
[110,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[109,null,null,null,85,115,100]
[109,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[null,null,110,null,85,115,100]
[98,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[92,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[89,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[103,null,null,null,85,115,100]
[104,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[114,null,null,null,85,115,100]
[104,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[100,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[null,null,88,null,85,115,100]
[86,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[105,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[null,null,110,null,85,115,100]
[94,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[111,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[115,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[103,null,null,null,85,115,100]
[108,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[103,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[87,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[100,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[105,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[95,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[null,null,85,null,85,115,100]
[86,null,null,null,85,115,100]
[106,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[106,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[85,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[87,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[100,null,null,null,85,115,100]
[106,null,null,null,85,115,100]
[100,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[109,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[106,null,null,null,85,115,100]
[106,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[87,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[93,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[94,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[79,null,null,null,85,115,100]
[100,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[110,null,null,null,85,115,100]
[107,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[103,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[106,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[100,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[107,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[104,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[104,null,null,null,85,115,100]
[105,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[null,null,106,null,85,115,100]
[99,null,null,null,85,115,100]
[109,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[91,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[88,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[104,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[76,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[92,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[104,null,null,null,85,115,100]
[100,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[95,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[103,null,null,null,85,115,100]
[100,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[85,null,null,null,85,115,100]
[null,null,89,null,85,115,100]
[74,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[null,null,88,null,85,115,100]
[91,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[null,null,87,null,85,115,100]
[null,null,88,null,85,115,100]
[null,null,87,null,85,115,100]
[92,null,null,null,85,115,100]
[107,null,null,null,85,115,100]
[null,null,109,null,85,115,100]
[103,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[114,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[85,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[106,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[null,null,110,null,85,115,100]
[108,null,null,null,85,115,100]
[115,null,null,null,85,115,100]
[108,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[86,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[null,null,86,null,85,115,100]
[91,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[106,null,null,null,85,115,100]
[101,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[86,null,null,null,85,115,100]
[104,null,null,null,85,115,100]
[null,null,110,null,85,115,100]
[99,null,null,null,85,115,100]
[94,null,null,null,85,115,100]
[109,null,null,null,85,115,100]
[111,null,null,null,85,115,100]
[99,null,null,null,85,115,100]
[108,null,null,null,85,115,100]
[96,null,null,null,85,115,100]
[90,null,null,null,85,115,100]
[88,null,null,null,85,115,100]
[93,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[98,null,null,null,85,115,100]
[87,null,null,null,85,115,100]
[97,null,null,null,85,115,100]
[107,null,null,null,85,115,100]
[102,null,null,null,85,115,100]
[91,null,null,null,85,115,100]
[89,null,null,null,85,115,100]
[114,null,null,null,85,115,100]
[97,null,null,null,85,115,100]

{"sheet":"B面数据_unsichtbar","index":21,"n_rows":6,"n_cols":6,"rows_kept":6,"cut":false,"hidden":true,"merged":[]}
[]
[null,null,"Kraftstofffluss",0,"temp durchgeführt",0]
[]
["mit A=Nr.",null,"mit A=Nr:"]
["FehlZähler < 11","FehlZähler > 10","FehlZähler < 11","FehlZähler > 10"]
["Rückführrate","Rückführrate","Rückführrate","Rückführrate","Min ","Max"]